## mesures
1ere série de mesures
					Mesures à 1018 lux
alpha	lux luxmeter	nits in HMD	lux LB					alpha	attenuation écran en clicks		coefficient d’attenuation
0.14	23	1.36573663270453	0	xrite color checker white square reflectance		0.9131				1	-8		0.440
0.3	386	22.9206234879978	507	HL2 visor transmittance		0.408602150537634				0.87	-7		0.506
0.42	550	32.658919477717	760	Lux of the light source		1210	lux			0.8	-6		0.550
0.47	896	53.2043488218808	1290	Brightness		71.8496228509773	candela/m²	aka	nits	0.68	-4		0.647
0.5	1210	71.8496228509774	1791					0.58	-2		0.759
0.61	1226	72.799700508511	1805					0.44	0		1.000

2eme série de mesures
pixel intensity					real luminosity seen
in Unity3D					corrected	corrected
alpha	lux luxmeter	nits in HMD	lux LB	nits in HMD	Calibrated luxmeter	nits in HMD
0.25	350	20.7829487585472	500	29.6899267979246	420.660571449597	24.9787631462232
0.31	550	32.658919477717	760	45.1286887328453	671.6046454217	39.8797855194327
0.34	664	39.4282227876438	1000	59.3798535958491	823.518994170724	48.9004373072584
0.39	870	51.6604726283887	1257	74.6404759699823	1098.03088752422	65.2009133449085
0.44	1040	61.7550477396831	1500	89.0697803937736	1324.56982864119	78.6527625021925
0.47	1224	72.6809408013193	1794	106.527457350953	1569.76491785014	93.2124110018411

	mesure
	calcul / fit
	extrapolation

## fit luminance
				mesure
	Karl Guttag					calcul / fit
				Extrapolation / interpolation
		a	b
	16, 38, 59, 91, 113, 140, 221, 291, 360, 414, and 538 nits					2eme série de mesures
Réglage HL2	NITS(reglage HL2)	Selon Karl Guttag					fit	fit	mesurés	% erreur
1	16					lux luxmeter	alpha	nits	nits(alpha)	nits
2	38					350	0.25	17.9467575206311	35.8935150412622	20.7829487585472	-13.6
3	59					550	0.31	27.9249416813221	55.8498833626442	32.658919477717	-14.5
4	91					664	0.34	33.7632140725015	67.526428145003	39.4282227876438	-14.4
5	113					870	0.39	44.7618615864044	89.5237231728089	51.6604726283887	-13.4
6	140					1018	0.44	57.3560828083911	114.712165616782	61.7550477396831	-7.1
7	221					1224	0.47	65.6829892882528	131.365978576506	72.6809408013193	-9.6
8	291				extrapolés	1390	0.5	74.5902873335313	149.180574667063
9	360					2022	0.6	108.49773947479	216.995478949579
10	414					2776	0.7	148.940927760209	297.881855520418
11	538					3652	0.8	195.975981782015	391.95196356403
				4652	0.9	249.651865679822	499.303731359643
https://contrastchecker.online/color-relative-luminance-calculator					5777	1	310.012043016844	620.024086033689
		NITS(pixel intensity)
20	0.125490196078431	0.01444	0.0131374699900775					fit		mesurés
40	0.250980392156863	0.05127	0.0546019335397512			lux LB	alpha	nits		nits	% erreur
60	0.376470588235294	0.11697	0.125638327986473			500	0.25	29.1074949016098		29.6899267979246	-2.0
80	0.501960784313726	0.215	0.22693647624171			760	0.31	45.2909165726696		45.1286887328453	0.4
A0	0.627450980392157	0.3515	0.358988075962236			1000	0.34	54.7598963404693		59.3798535958491	-7.8
C0	0.752941176470588	0.527115	0.522177834845227			1257	0.39	72.5983875591479		74.6404759699823	-2.7
0xE0	0.87843137254902	0.7454	0.716822779480458			1500	0.44	93.0247085582089		89.0697803937736	4.4
0x100	1	1	0.935636346601805			1794	0.47	106.529955265316		106.527457350953	0.0
				extrapolés	2254	0.5	120.976527697245
				3279	0.6	175.970360939471
Régression	Exponentielle					4502	0.7	241.56437676486
Modèle de régression	Puissance					5923	0.8	317.849610660889
				7545	0.9	404.905476607634
Sortie DROITEREG brute					9370	1	502.802467307928
2.05526457149153	-0.066528396585261
0.036355237866208	0.0362705259153249					fit		mesurés
0.998126148405433	0.0675998427963646					calibrated luxmeter	alpha	nits		nits	% erreur
3195.96114644102	6					421	0.25	25.4113701301051		24.9787631462232	1.7
14.6047074819	0.0274184324765592					672	0.31	39.53979029972		39.8797855194327	-0.9
				824	0.34	47.8063811021022		48.9004373072584	-2.2
Statistiques de régression					1098	0.39	63.3797069569288		65.2009133449085	-2.8
R^2	0.998126148405433					1325	0.44	81.2122550706715		78.6527625021925	3.3
Erreur type	0.0675998427963646					1570	0.47	93.0025800001352		93.2124110018411	-0.2
Nombre de variables X	1					1968	0.5	105.614699332975
Observations	8					2863	0.6	153.62531158646
R^2 ajusté	0.997813839806339					3930	0.7	210.890075184056
				5171	0.8	277.48846575481
Analyse de la Variance (ANOVA)					6587	0.9	353.489813141363
	df	SS	MS	F	Précision F	8180	1	438.955658749775
Régression	1	14.6047074819	14.6047074819	3195.96114644102	2.05760028779484E-09			^this is a fit to be compared with the measurements on the right
Résidu	6	0.0274184324765592	0.00456973874609321
Total	7	14.6321259143765
				mesure
Niveau de confiance	0.95					calcul / fit
				extrapolation
	Coefficients	Erreur type	Statistique de Student	Valeur P	#NOM ?	#NOM ?
Intercepter	-0.066528396585261	0.0362705259153249	-1.83422751411365	0.116304818290851	-0.15527917629473	0.0222223831242082
LN(X1)	2.05526457149153	0.036355237866208	56.532832464339	2.05760028779484E-09	1.96630650910551	2.14422263387755

X1	Y prédit	Y	Résidu
0.125490196078431	0.0131374699900775	0.01444	0.00130253000992254
0.250980392156863	0.0546019335397512	0.05127	-0.00333193353975123
0.376470588235294	0.125638327986473	0.11697	-0.00866832798647253
0.501960784313726	0.22693647624171	0.215	-0.0119364762417097
0.627450980392157	0.358988075962236	0.3515	-0.00748807596223655
0.752941176470588	0.522177834845227	0.527115	0.00493716515477349
0.87843137254902	0.716822779480458	0.7454	0.0285772205195424
1	0.935636346601805	1	0.0643636533981951

## bad calibration luxmeter
			Régression
			Modèle de régression	Linéaire

			Sortie DROITEREG brute
TL84			1.49163310380668	-27.3127322333378
luxmeter	lightbox		0.03666264318254	30.5178279735806
350	500		0.997589343614015	26.2626705563715
550	760		1655.29911175041	4
664	1000		1141705.92187432	2758.91145901
870	1257
1018	1500		Statistiques de régression
1224	1794		R^2	0.997589343614015
			Erreur type	26.2626705563715
			Nombre de variables X	1
			Observations	6
			R^2 ajusté	0.996986679517519

			Analyse de la Variance (ANOVA)
				df	SS	MS	F	Précision F
			Régression	1	1141705.92187432	1141705.92187432	1655.29911175041	2.18097757771274E-06
			Résidu	4	2758.91145901	689.727864752501
			Total	5	1144464.83333333

			Niveau de confiance	0.95

				Coefficients	Erreur type	Statistique de Student	Valeur P	#NOM ?	#NOM ?
			Intercepter	-27.3127322333378	30.5178279735806	-0.894976282616918	0.421387254362218	-112.043806331854	57.4183418651784
			luxmeter	1.49163310380668	0.03666264318254	40.6853672928046	2.18097757771274E-06	1.3898412875989	1.59342492001445

			luxmeter	Y prédit	lightbox	Résidu
			350	494.758854099	500	5.24114590100044
			550	793.085474860335	760	-33.0854748603352
			664	963.131648694296	1000	36.8683513057035
			870	1270.40806807847	1257	-13.4080680784723
			1018	1491.16976744186	1500	8.83023255813941
			1224	1798.44618682604	1794	-4.44618682603618

## bad calibration luxmeter2
	TL84 Light

	AOPUTTRIVER AP-881D	Byko Spectra Pro 220V	MT912 (NONAME)	Byko Spectra Pro 220V
Lux	396	508	452	508
	535	710	634	710
	668	910	801	910
	797	1106	961	1106
	934	1303	1130	1303
	1032	1458	1253	1458
	1170	1658	1415	1658
	1200	1706	1450	1706
	1240	1759	1497	1759
	1265	1802	1527	1802

Room Lights Off	368		424
Only Room Lights	21.6		37.5

	Régression					Régression
	Modèle de régression	Linéaire					Modèle de régression	Linéaire

	Sortie DROITEREG brute					Sortie DROITEREG brute
	1.48977688560471	-84.1069092330672					1.20904012135481	-52.4526149465464
	0.00356563049508357	3.45858420150784					0.00681471369822082	7.97518173206656
	0.999954175230158	3.33793695014979					0.999745906576073	7.86003890387008
	174570.072679796	8					31476.4826613296	8
	1945028.86541534	89.1345846654022					1944623.75830744	494.24169256281

	Statistiques de régression					Statistiques de régression
	R^2	0.999954175230158					R^2	0.999745906576073
	Erreur type	3.33793695014979					Erreur type	7.86003890387008
	Nombre de variables X	1					Nombre de variables X	1
	Observations	10					Observations	10
	R^2 ajusté	0.999948447133928					R^2 ajusté	0.999714144898082

	Analyse de la Variance (ANOVA)					Analyse de la Variance (ANOVA)
		df	SS	MS	F	Précision F				df	SS	MS	F	Précision F
	Régression	1	1945028.86541534	1945028.86541534	174570.072679796	1.20577758134175E-18			Régression	1	1944623.75830744	1944623.75830744	31476.4826613296	1.13992406380735E-15
	Résidu	8	89.1345846654022	11.1418230831753					Résidu	8	494.24169256281	61.7802115703512
	Total	9	1945118					Total	9	1945118

	Niveau de confiance	0.95					Niveau de confiance	0.95

		Coefficients	Erreur type	Statistique de Student	Valeur P	#NOM ?	#NOM ?			Coefficients	Erreur type	Statistique de Student	Valeur P	#NOM ?	#NOM ?
	Intercepter	-84.1069092330672	3.45858420150784	-24.3183060850157	8.72450691892521E-09	-92.0824187036961	-76.1313997624383		Intercepter	-52.4526149465464	7.97518173206656	-6.57698052643055	0.000173505380121637	-70.8434169996966	-34.0618128933962
	AOPUTTRIVER AP-881D	1.48977688560471	0.00356563049508357	417.815835841338	1.20577758134175E-18	1.48155452693843	1.49799924427098		MT912 (NONAME)	1.20904012135481	0.00681471369822082	177.416128526495	1.13992406380735E-15	1.19332536338648	1.22475487932314

	AOPUTTRIVER AP-881D	Y prédit	Byko Spectra Pro 220V	Résidu					MT912 (NONAME)	Y prédit	Byko Spectra Pro 220V	Résidu
	396	505.844737466397	508	2.15526253360349					452	494.033519905827	508	13.9664800941732
	535	712.923724565451	710	-2.92372456545058					634	714.078821992402	710	-4.0788219924018
	668	911.064050350877	910	-1.06405035087653					801	915.988522258655	910	-5.98852225865471
	797	1103.24526859388	1106	2.75473140611643					961	1109.43494167542	1106	-3.43494167542394
	934	1307.34470192173	1303	-4.3447019217283					1130	1313.76272218439	1303	-10.7627221843866
	1032	1453.34283671099	1458	4.65716328901044					1253	1462.47465711103	1458	-4.47465711102791
	1170	1658.93204692444	1658	-0.932046924439192					1415	1658.33915677051	1658	-0.339156770506634
	1200	1703.62535349258	1706	2.37464650741981					1450	1700.65556101793	1706	5.34443898207496
	1240	1763.21642891677	1759	-4.21642891676856					1497	1757.4804467216	1759	1.51955327839914
	1265	1800.46085105689	1802	1.53914894311379					1527	1793.75165036225	1802	8.2483496377547
SpectraPro(AP881D) SpectraPro(MT921)

## Calibration Luxmeter3
	TL84 Light	Mesures réalisées à la bonne hauteur de 8cm

	AOPUTTRIVER AP-881D	Byko Spectra Pro 220V (lightbooth)
	7	17.4
	12	24
	40	83
Lux	427	506
plage de mesures	467	560
578	500	600
1384	568	700
	652	808
	720	900
	800	1000
	872	1106
	950	1208
	1024	1308
	1102	1406
	1173	1505
	1255	1600
	1329	1705
	1384	1789

Only Room Lights	21.6

	Régression
	Modèle de régression	Linéaire

	Sortie DROITEREG brute
	1.33258200657038	-61.3154581920089
	0.00416445261771536	3.89401350207171
	0.999873054831079	5.02942053551757
	102393.417751368	13
	2590048.764078	328.835922000115

	Statistiques de régression
	R^2	0.999873054831079
	Erreur type	5.02942053551757
	Nombre de variables X	1
	Observations	15
	R^2 ajusté	0.999863289818086

	Analyse de la Variance (ANOVA)
		df	SS	MS	F	Précision F
	Régression	1	2590048.764078	2590048.764078	102393.417751368	1.02365543118142E-26
	Résidu	13	328.835922000115	25.2950709230858
	Total	14	2590377.6

	Niveau de confiance	0.95

		Coefficients	Erreur type	Statistique de Student	Valeur P	#NOM ?	#NOM ?
	Intercepter	-61.3154581920089	3.89401350207171	-15.7460825853294	7.57429229019076E-10	-69.7279629097275	-52.9029534742903
	X1	1.33258200657038	0.00416445261771536	319.989715071231	1.02365543118142E-26	1.32358525366374	1.34157875947702

	X1 mesuré	Y prédit	Y mesuré	Résidu
	427	507.697058613543	506	-1.69705861354339
	467	561.000338876359	560	-1.00033887635857
	500	604.975545093181	600	-4.97554509318115
	568	695.591121539967	700	4.40887846003295
	652	807.528010091879	808	0.471989908121032
	720	898.143586538665	900	1.85641346133525
	800	1004.7501470643	1000	-4.75014706429511
	872	1100.69605153736	1106	5.30394846263744
	950	1204.63744804985	1208	3.36255195014769
	1024	1303.24851653606	1308	4.75148346393962
	1102	1407.18991304855	1406	-1.18991304855012
	1173	1501.80323551505	1505	3.19676448495306
	1255	1611.07496005382	1600	-11.0749600538181
	1329	1709.68602854003	1705	-4.68602854002643
	1384	1782.9780389014	1789	6.02196109860279

## FiltreND
				Lux mieux corrigés
		AP881-D	Lux corrigés	attenuation	theorique	meilleure estimation de l’attenuation
max	9	2	4	0.00223010353827289	1.26226369213542E-33	0.00223010353827289	4
	8	10.7	21.4	0.01193105392976	0.0101514677256756	0.01193105392976	21.4
	7	37.6	75.2	0.0419259465195304	0.0393814540752783	0.0341937315316306	61.3312
	6	107.7	126.721042671883	0.0706502614090494	0.0841643913063919	0.0735543899510857	131.93
	5	190	226.561006429233	0.126313625518125	0.139098796263181	0.126313625518125	226.561006429233
	4	280	335.742011753188	0.187184862089411	0.197558768962387	0.187184862089411	335.742011753188
	3	360	432.791794263369	0.241292627930553	0.252493173919176	0.241292627930553	432.791794263369
	2	430	517.710353959778	0.288636923041553	0.297276111150289	0.288636923041553	517.710353959778
	1	470	566.235245214869	0.315690805962125	0.326506097499892	0.315690805962125	566.235245214869
min	0	501	603.842035937565	0.336657565225568	0.336657565225568	0.338031288381616	606.305998946408
	rien	1392	1793.63869495396	1

		AP881-D	Lux estimés	Lux LB	filtre ND 0°
attenuation min		500	604.975545093181	1791	0.33778645733846
		284	339.81317608249	1006	0.33778645733846
Plage de mesure 110-575		260	306.034530348644	906	0.33778645733846
		224	267.52687421206	792	0.33778645733846
		202	239.152811795629	708	0.33778645733846
		167	200.982942116383	595	0.33778645733846					fonction inverse
		141	170.919947413261	506	0.33778645733846					AP881-D		seg1	seg2	seg3	max	ratio	A	B	1/A	-B/A
				Mesure AP881-D		A	B		0	0	0	-3.93222703244879	-61.3154581920089	0
				De 0 à 30		2	0		20	1	40	20.3302185950967	-34.6638180606013	40	2.000	2	0	0.5	0
	Régression					De 60 à 170		0.5	90		40	2	64.24	44.5926642226421	-8.01217792919371	64.24	1.606	1.212	15.76	0.825082508250825	-13.003300330033
	Modèle de régression	Linéaire				De 170 à 500		1.21312228137727	-3.93222703244879		60	3	85	68.8551098501876	18.6394622022139	85	1.417	1.038	22.72	0.963391136801541	-21.888246628131
				De 500 à 1400		1.33258200657038	-61.3154581920089		68	3.5	95.55	78.5600881012058	29.3001182547769	95.55	1.405	1.31875	5.87500000000003	0.758293838862559	-4.45497630331756
	Sortie DROITEREG brute					80	4	107	93.117555477733	45.2911023336215	107	1.338	0.954166666666667	30.6666666666666	1.04803493449782	-32.1397379912663
	1.21312228137727	-3.93222703244879					100	5	125	117.380001105278	71.9427424650291	125	1.250	0.9	35	1.11111111111111	-38.8888888888889
	0.0118110251917648	3.27135853686697					120	6	141	141.642446732824	98.5943825964367	141.642446732824	1.180	0.832122336641196	41.7877663358804	1.20174637305908	-50.2182966323845
	0.999526270695935	3.45144752116825					140	7	160	165.904892360369	125.246022727844	165.904892360369	1.185	1.21312228137727	-3.93222703244894	0.824319209490314	3.24141027892475
	10549.5507890084	5					Conclusions			160	8	170	190.167337987915	151.897662859252	190.167337987915	1.189	1.21312228137727	-3.93222703244874	0.824319209490314	3.24141027892459
	125671.418187602	59.5624499568924					il faut afficher	pour avoir		180	9	170	214.42978361546	178.54930299066	214.42978361546	1.191	1.21312228137727	-3.93222703244874	0.824319209490314	3.24141027892459
				5.0	10		200	10	170	238.692229243006	205.200943122067	238.692229243006	1.193	1.21312228137727	-3.93222703244876	0.824319209490314	3.24141027892461
	Statistiques de régression					10.0	20		220	11	170	262.954674870551	231.852583253475	262.954674870551	1.195	1.21312228137727	-3.93222703244876	0.824319209490314	3.24141027892461
	R^2	0.999526270695935					28.3	50		240	12	170	287.217120498097	258.504223384882	287.217120498097	1.197	1.21312228137727	-3.93222703244874	0.824319209490314	3.24141027892459
	Erreur type	3.45144752116825					71.4	100		260	13	170	311.479566125642	285.15586351629	311.479566125642	1.198	1.21312228137727	-3.93222703244874	0.824319209490314	3.24141027892459
	Nombre de variables X	1					168.1	200		280	14	170	335.742011753188	311.807503647698	335.742011753188	1.199	1.21312228137728	-3.93222703244948	0.824319209490313	3.24141027892519
	Observations	7					333.0	400		300	15	170	360.004457380733	338.459143779105	360.004457380733	1.200	1.21312228137727	-3.93222703244868	0.824319209490314	3.24141027892454
	R^2 ajusté	0.999431524835122					415.4	500		320	16	170	384.266903008278	365.110783910513	384.266903008278	1.201	1.21312228137727	-3.93222703244868	0.824319209490314	3.24141027892454
				571.3	700		340	17	170	408.529348635824	391.76242404192	408.529348635824	1.202	1.21312228137727	-3.93222703244868	0.824319209490314	3.24141027892454
	Analyse de la Variance (ANOVA)					796.4	1000		360	18	170	432.791794263369	418.414064173328	432.791794263369	1.202	1.21312228137727	-3.93222703244874	0.824319209490314	3.24141027892459
		df	SS	MS	F	Précision F					380	19	170	457.054239890915	445.065704304736	457.054239890915	1.203	1.21312228137727	-3.93222703244874	0.824319209490314	3.24141027892459
	Régression	1	125671.418187602	125671.418187602	10549.5507890084	1.65873866642705E-09		215	256.889063463665		400	20	170	481.31668551846	471.717344436143	481.31668551846	1.203	1.21312228137727	-3.93222703244874	0.824319209490314	3.24141027892459
	Résidu	5	59.5624499568924	11.9124899913785				130	149.963670099236		420	21	170	505.579131146006	498.368984567551	505.579131146006	1.204	1.21312228137727	-3.93222703244874	0.824319209490314	3.24141027892459
	Total	6	125730.980637559					455	548.03841099421		440	22	170	529.841576773551	525.020624698958	529.841576773551	1.204	1.21312228137728	-3.93222703244982	0.824319209490313	3.24141027892547
				460	23	170	554.104022401097	551.672264830366	554.104022401097	1.205	1.21312228137728	-3.93222703244987	0.824319209490313	3.24141027892552
	Niveau de confiance	0.95					0.193798449612403		480	24	170	578.366468028642	578.323904961774	578.366468028642	1.205	1.21312228137726	-3.93222703244464	0.82431920949032	3.24141027892124
				500	25	170	602.628913656188	604.975545093181	604.975545093181	1.210	1.33045385322696	-60.2513815202983	0.751623213067137	45.2863369700205
		Coefficients	Erreur type	Statistique de Student	Valeur P	#NOM ?	#NOM ?				520	26	170	626.891359283733	631.627185224589	631.627185224589	1.215	1.33258200657038	-61.3154581920086	0.750422859583453	46.0125214731167
	Intercepter	-3.93222703244879	3.27135853686697	-1.20201652864829	0.283175356666019	-12.3415218651728	4.47706780027522				540	27	170	651.153804911279	658.278825355996	658.278825355996	1.219	1.33258200657038	-61.3154581920086	0.750422859583453	46.0125214731167
	X1	1.21312228137727	0.0118110251917648	102.7110061727	1.65873866642705E-09	1.18276107455908	1.24348348819547				560	28	170	675.416250538824	684.930465487404	684.930465487404	1.223	1.33258200657039	-61.3154581920117	0.75042285958345	46.0125214731189
				580	29	170	699.678696166369	711.582105618812	711.582105618812	1.227	1.33258200657038	-61.3154581920085	0.750422859583453	46.0125214731167
	X1	Y prédit	Y	Résidu					600	30	170	723.941141793915	738.233745750219	738.233745750219	1.230	1.33258200657038	-61.3154581920085	0.750422859583453	46.0125214731167
	500	602.628913656188	604.975545093181	2.34663143699368					620	31	170	748.20358742146	764.885385881627	764.885385881627	1.234	1.33258200657038	-61.3154581920085	0.750422859583453	46.0125214731167
	284	340.594500878697	339.81317608249	-0.78132479620632					640	32	170	772.466033049006	791.537026013034	791.537026013034	1.237	1.33258200657038	-61.3154581920085	0.750422859583453	46.0125214731167
	260	311.479566125642	306.034530348644	-5.44503577699771					660	33	170	796.728478676551	818.188666144442	818.188666144442	1.240	1.33258200657038	-61.3154581920085	0.750422859583453	46.0125214731167
	224	267.80716399606	267.52687421206	-0.280289784000331					680	34	170	820.990924304097	844.84030627585	844.84030627585	1.242	1.33258200657038	-61.3154581920085	0.750422859583453	46.0125214731167
	202	241.11847380576	239.152811795629	-1.9656620101309					700	35	170	845.253369931642	871.491946407257	871.491946407257	1.245	1.33258200657038	-61.3154581920085	0.750422859583453	46.0125214731167
	167	198.659193957556	200.982942116383	2.3237481588277					720	36	170	869.515815559188	898.143586538665	898.143586538665	1.247	1.33258200657038	-61.3154581920085	0.750422859583453	46.0125214731167
	141	167.118014641747	170.919947413261	3.80193277151392					740	37	170	893.778261186733	924.795226670073	924.795226670073	1.250	1.33258200657039	-61.3154581920124	0.75042285958345	46.0125214731194
				760	38	170	918.040706814278	951.44686680148	951.44686680148	1.252	1.33258200657038	-61.3154581920084	0.750422859583453	46.0125214731166
				780	39	170	942.303152441824	978.098506932888	978.098506932888	1.254	1.33258200657038	-61.3154581920084	0.750422859583453	46.0125214731166
				800	40	170	966.565598069369	1004.7501470643	1004.7501470643	1.256	1.33258200657037	-61.3154581920039	0.750422859583456	46.0125214731134
				820	41	170	990.828043696915	1031.4017871957	1031.4017871957	1.258	1.33258200657039	-61.315458192013	0.75042285958345	46.0125214731199
				840	42	170	1015.09048932446	1058.05342732711	1058.05342732711	1.260	1.33258200657039	-61.315458192013	0.75042285958345	46.0125214731199
				860	43	170	1039.35293495201	1084.70506745852	1084.70506745852	1.261	1.33258200657037	-61.3154581920035	0.750422859583456	46.0125214731131
				880	44	170	1063.61538057955	1111.35670758993	1111.35670758993	1.263	1.33258200657039	-61.3154581920132	0.75042285958345	46.0125214731201
				900	45	170	1087.8778262071	1138.00834772133	1138.00834772133	1.264	1.33258200657037	-61.3154581920032	0.750422859583456	46.0125214731129
				920	46	170	1112.14027183464	1164.65998785274	1164.65998785274	1.266	1.33258200657039	-61.3154581920135	0.75042285958345	46.0125214731202
				940	47	170	1136.40271746219	1191.31162798415	1191.31162798415	1.267	1.33258200657037	-61.315458192003	0.750422859583456	46.0125214731128
				960	48	170	1160.66516308973	1217.96326811556	1217.96326811556	1.269	1.33258200657039	-61.3154581920137	0.75042285958345	46.0125214731204
				980	49	170	1184.92760871728	1244.61490824696	1244.61490824696	1.270	1.33258200657039	-61.3154581920137	0.75042285958345	46.0125214731204
				1000	50	170	1209.19005434482	1271.26654837837	1271.26654837837	1.271	1.33258200657037	-61.3154581920026	0.750422859583456	46.0125214731124
				1020	51	170	1233.45249997237	1297.91818850978	1297.91818850978	1.272	1.33258200657039	-61.3154581920139	0.75042285958345	46.0125214731206
				1040	52	170	1257.71494559991	1324.56982864119	1324.56982864119	1.274	1.33258200657037	-61.3154581920023	0.750422859583456	46.0125214731122
				1060	53	170	1281.97739122746	1351.22146877259	1351.22146877259	1.275	1.33258200657039	-61.3154581920142	0.75042285958345	46.0125214731207
				1080	54	170	1306.23983685501	1377.873108904	1377.873108904	1.276	1.33258200657037	-61.3154581920021	0.750422859583456	46.0125214731121
				1100	55	170	1330.50228248255	1404.52474903541	1404.52474903541	1.277	1.33258200657039	-61.3154581920144	0.75042285958345	46.0125214731209
				1120	56	170	1354.7647281101	1431.17638916682	1431.17638916682	1.278	1.33258200657039	-61.3154581920144	0.75042285958345	46.0125214731209
				1140	57	170	1379.02717373764	1457.82802929822	1457.82802929822	1.279	1.33258200657037	-61.3154581920016	0.750422859583456	46.0125214731117
				1160	58	170	1403.28961936519	1484.47966942963	1484.47966942963	1.280	1.33258200657039	-61.3154581920146	0.75042285958345	46.0125214731211
				1180	59	170	1427.55206499273	1511.13130956104	1511.13130956104	1.281	1.33258200657037	-61.3154581920014	0.750422859583456	46.0125214731116
				1200	60	170	1451.81451062028	1537.78294969245	1537.78294969245	1.281	1.33258200657039	-61.3154581920148	0.75042285958345	46.0125214731212
				1220	61	170	1476.07695624782	1564.43458982385	1564.43458982385	1.282	1.33258200657037	-61.3154581920012	0.750422859583456	46.0125214731114
				1240	62	170	1500.33940187537	1591.08622995526	1591.08622995526	1.283	1.33258200657039	-61.3154581920151	0.75042285958345	46.0125214731214
				1260	63	170	1524.60184750291	1617.73787008667	1617.73787008667	1.284	1.33258200657037	-61.315458192001	0.750422859583456	46.0125214731112
				1280	64	170	1548.86429313046	1644.38951021808	1644.38951021808	1.285	1.33258200657039	-61.3154581920153	0.75042285958345	46.0125214731216
				1300	65	170	1573.12673875801	1671.04115034949	1671.04115034949	1.285	1.33258200657039	-61.3154581920153	0.75042285958345	46.0125214731216
				1320	66	170	1597.38918438555	1697.69279048089	1697.69279048089	1.286	1.33258200657037	-61.3154581920005	0.750422859583456	46.0125214731109
				1340	67	170	1621.6516300131	1724.3444306123	1724.3444306123	1.287	1.33258200657039	-61.3154581920153	0.75042285958345	46.0125214731216
				1360	68	170	1645.91407564064	1750.99607074371	1750.99607074371	1.287	1.33258200657037	-61.3154581920003	0.750422859583456	46.0125214731107
				1380	69	170	1670.17652126819	1777.64771087512	1777.64771087512	1.288	1.33258200657039	-61.3154581920155	0.75042285958345	46.0125214731218
				1400	70	170	1694.43896689573	1804.29935100652	1804.29935100652	1.289	1.33258200657037	-61.3154581920001	0.750422859583456	46.0125214731105

## HL2 visor transmittance
	first measure

	visor transmittance
	TL84
illumination	1700		without simulation of the black masking parts of the HMD
illumination	1630	lux	with simulation of the black masking parts of the HMD
though visor	570	lux
ratio	0.349693251533742		probably wrong

	method used
	a cylinder is put over the sensor of the luxmeter in order to “see” light coming only from a cone
	measurement is done with and without the HMD, with a ~1700 lux source

	second measure		better

	visor transmittance
	TL84

illumination	186	lux	using a pipe to limit the view so that it is unobstructed by top black plastic of HMD
though visor	76	lux	cone of view 60° using a cylinder of 50mm height, 28mm inner diameter
ratio	0.408602150537634		strong light reduction on the sides of the cone reduces effect of potential visibility of some black plastic parts of the HMD

	method used
	a cylinder is put over the sensor of the luxmeter in order to “see” light coming only from a cone
	measurement is done with and without the HMD visor, with a ~1700 lux source

## Moon_500nits
	illum ratio	altitude °	illumination sun	illumination moon	moon behind visor
	1	90	129000	6000	2451.6129032258
	4.708	20	27400	1274.41860465116	520.730182545636
	6.719	15	19200	893.023255813954	364.891222805701
target ratio	4.903	19.51	26309.2105263158	1223.68421052632	500	target luminosity OK success

	Régression			So, when the full moon is at an altitude of
	Modèle de régression	Linéaire		19.51	°
				it is seen through the visor with a surface brightness of
	Sortie DROITEREG brute			500	nits
	-2.48667044809983	31.7073170731707
	0	0
	1	0		Experimentation on April 16th, 2022 has shown that the HL2 display cannot reach the luminosity of the full moon at that altitude
	#N/D	0		We should then consider that our computations may be more accurate.
	12.5	0		See tab Moon_439 nits

	Statistiques de régression
	R^2	1
	Erreur type	0
	Nombre de variables X	1
	Observations	2

	Analyse de la Variance (ANOVA)
		df	SS	MS
	Régression	1	12.5	12.5
	Résidu	0	0
	Total	1	12.5

		Coefficients
	Intercepter	31.7073170731707
	X1	-2.48667044809983

## Moon_439nits
				Moon target brightness (nits) →	370
	illum ratio	Altitude (°)	illumination sun (lux)	illumination moon (nits)	moon behind visor (nits)
	1	90	129000	5721	2337.6129032258
	4.708	20	27400	1215.15813953488	496.516229057264
	6.719	15	19200	851.497674418605	347.923780945236
target ratio	6.318	16.00	20418.2651174344	905.526315789473	369.999999999999	check ok
		Linear Interpolation ^
	Régression			So, when the full moon is at an altitude of
	Modèle de régression	Linéaire		16.00	°
				it is seen through the visor with a surface brightness of
	Sortie DROITEREG brute			370	nits
	-2.48667044809983	31.7073170731707
	0	0		cf https://ufowaves.org/enquetes/simovni2/doku.php?id=simovni2:doc:light#attenuation_lumineuse_selon_la_hauteur_sur_l_horizon
	1	0
	#N/D	0
	12.5	0

	Statistiques de régression
	R^2	1
	Erreur type	0
	Nombre de variables X	1
	Observations	2

	Analyse de la Variance (ANOVA)
		df	SS	MS
	Régression	1	12.5	12.5
	Résidu	0	0
	Total	1	12.5

		Coefficients
	Intercepter	31.7073170731707
	X1	-2.48667044809983

## Magnitude of a pixel
HL2
	Magnitude of a pixel at full brightness

Screen at full Brightness		Y	439	candela/m²	aka nits
Width of a pixel		Pdeg	0.0316656111462951	°	1.89993666877771	arc minutes	113.996200126662	arc seconds
Solid angle of a pixel		Prad²	3.05443216065664E-07	steradians

Formula from Nits to lux
	L = Prad² x Y
Formula from lux to magnitude
	Mag = -Log10(L)/0.4-14.18

		L	0.000134089571852826	lux
		Mag	-4.49848751019807	magnitude

		This is close to venus (-4.3 to -4.6 at its brightest)
		venus diameter		from	9.7	arc seconds
				to	66	arc seconds

		So, at its brightest, venus illuminates like a single pixel at full brightness
		because the diameter is pretty close to the width of a pixel,
		The sensation should look alike